This page was exported from Modern Outpost [    https://www.modernoutpost.com    ]

Export date: Wed Apr 17 12:34:59 2024 / +0000 GMT

# Large Back Up System Wiring Kit by Midnite MNBUK250-120GEN

Price: CAD $1,115.00

SKU: MNBUK250-120GEN

Product Categories: Back-Up Systems, On The Roof, Pre-Wired Power Panels, Shop, Wiring & BOS

Product Tags: back-up, backup, backup power, backup power canada, backup power wiring kit, blackout, canada, generator, inverter, mnbuk250-120, mnbuk250-120gen, power outage, residential, system, wiring kit

Product Page: https://www.modernoutpost.com/product/midnite-mnbuk250-120gen-large-back-up-system-wiring-kit/

## Product Summary

Midnite MNBUK250-120GEN Large Back Up System Wiring Kit includes all the necessary breakers and brackets to assemble your own Power back up system. (yes - generator input is included)

## Product Description

Midnite MNBUK250-120GEN Large Back Up System Wiring Kit includes all the necessary breakers and brackets to assemble your own Power back up system.

This Kit Includes the generator connection: This kit which has the extra generator input transfer switch and AC inlet.

##### MNBUK250-120GEN Includes...

- 175 OR 250 amp breaker (MUST SPECIFY BREAKER SIZE)

- AC ground bus bar

- AC input and output terminal blocks for field wiring connections

- GFCI outlet and associated 15 amp breaker wired

- Two 15 amp and one 20 amp load circuit breakers

- 50 amp AC breakers (AC input disconnect and AC bypass switch)

- 500 amp/50mV shunt for connection of battery and inverter negatives with bat negative busbar

- AC inlet for portable generator recessed on side for Large Backup Kit/gen models

- 50 amp utility/15 amp generator transfer switch on 120 VAC/gen models

- 50 amp utility/30 amp generator transfer switch on 240 VAC/gen models

- Knockout spaces for four additional AC or DC breakers on non-gen models

- Mounting hardware for Magnum or OutBack inverter

- Warranty - 5 yrs.

- Made in the USA

Download the wiring diagram

## Product Attributes

- Dimensions: N/A

- Weight: 29 kg

Product added date: 2017-10-18 08:28:06

Product modified date: 2018-09-27 06:24:31

Product export as MS Document by WooCommerce PDF & Print plugin.