This page was exported from Modern Outpost [    https://www.modernoutpost.com    ]

Export date: Thu Apr 18 0:09:11 2024 / +0000 GMT

# MNDC125 Mini DC Breaker Panel

Price: CAD $379.00

SKU: MNDC125

Product Categories: Wiring Panels, Shop, Wiring & BOS

Product Tags: breaker panel, canada, centre, dc, load, midnite, mini, mndc125

Product Page: https://www.modernoutpost.com/product/mndc125-mini-dc-breaker-panel/

## Product Summary

MNDC125 Mini DC Breaker Panel

White powder coated aluminum with 125A/125VDC breaker

5 dinrail breaker slots or 3 panel mount breaker slots.

## Product Description

MNDC125 Mini DC Breaker Panel

White powder coated aluminum with 125A/125VDC breaker

5 dinrail breaker slots or 3 panel mount breaker slots.

Breakers take 6 AWG wire.

NEMA 1 rating

300VDC Max

00 max wire (main lug)

## Product Attributes

- Dimensions: N/A

- Weight: 4.9 kg

Product added date: 2017-01-06 10:39:40

Product modified date: 2021-05-03 13:47:53

Product export as MS Document by WooCommerce PDF & Print plugin.